## Slide 1: Wind Energy Forecasting
Jon Lo
Data Science Career Track
Capstone Project 1
August 06, 2018

## Slide 2: Introduction
To solve climate change, society needs to rapidly decarbonize
Incorporation of greater amounts of renewable wind power will be one of many essential strategies for decarbonization
But the winddoes not always blow!
To incorporate high amounts of wind power, the future smart grid will require accurate forecasts to operate effectively and efficiently

## Slide 3: Project Client and Objective
Client: vertically-integrated electric utility company seeking to incorporate higher amounts of wind power generation into its electricity portfolio
Objective: employ machine learning to accurately predict hourly wind power generation at 7 wind farms, based on historical wind speeds and wind directions.

## Slide 4: Data
Data provided by Institute of Electrical and Electronics Engineers (IEEE)
Retrieved from Kaggle database
Time series dataset with wind speed, wind direction and wind power production data
Data for 7 separate wind farms
Unitless for anonymity

## Slide 5: Forecast Categories
Data is split into 4 Forecast Categories:
  Category 1: 1-hour to 12-hour ahead data
  Category 2: 13-hour to 24-hour ahead data
  Category 3: 25-hour to 36-hour ahead data
  Category 4: 37-hour to 48-hour ahead data

## Slide 6: Example Wind Speeds

## Slide 7: Wind Speed over 1 Year

## Slide 8: Wind Speed Distribution

## Slide 9: Wind Speed vs. Direction

## Slide 10: Machine Learning Models
Models:
  Linear Regression
  Lasso Regression
  Ridge Regression
  Decision Tree
  Neural Networks
Evaluation:
  Root Mean Square Error (RMSE): a value of 0 indicates a perfect fit. The lower the RMSE value, the more accurate the predictive capability of the model

## Slide 11: Machine Learning Results

## Slide 12: Conclusion
Decision Trees perform best, producing the lowest RMSE values
Thus, Decision Tree Models are recommended to the electric utility to be applied future wind data to predict power generation
More accurate forecasts can be used to make better informed decisions with regards to electricity transmission sizing, sizing of nearby distributed energy resources (DERs), sizing of energy storage systems, and other issues related to renewable energy integration in a smart grid or microgrid